## Slide 1: IENG 475 - Lecture 11
Logic Diagramming & Introduction to Programmable Logic Controllers

## Slide 2: Wire Logic
Example: Missile engine (e) should start only when the President (a) orders it fired and both range officers (b and c) concur with the order. Once fired, the engine should stay on unless the self-destruct (d) is activated.
  e = [ ( a • b • c ) + e ] • d
b
a
e
e
d
c
- In Pneumatic Controls!

## Slide 3: Truth Tables
Enumerate all states for all input variables, often including system outputs among the inputs (lumped circuit delay model)
Specify the desired state of each output based on the states of the inputs
For each output, use the table as the starting point for expressing the associated logic equation

## Slide 4: Logic Diagramming
Methods
  Ladder Logic (similar to wire logic)
  ISO Pneumatic (Fluid) Logic
  Logic Gates
Logic System Functions Required:
  AND
  OR
  NOT
    Minimally:
      NAND
      NOR

## Slide 5: Logical AND Function
Truth Table:
  A B C = A • B
0 0 0
0 1 0
1 0 0
1 1 1
Pneumatic Logic Gate Ladder Logic
A
B
A
B
A
B

## Slide 6: Logical OR Function
Truth Table:
  A B C = A + B
0 0 0
0 1 1
1 0 1
1 1 1
Pneumatic Logic Gate Ladder Logic
A
B
A
B
A
B

## Slide 7: Logical NOT Function
Truth Table:
  A B = A
0 1
1 0
Pneumatic Logic Gate Ladder Logic
(2/2 DCV won’t work) (ISO preferred)
A
A
A
A

## Slide 8: Wire Logic = Gate Logic
Missile Engine Example: e = [ ( a • b • c ) + e ] • d
b
a
e
e
d
c
e
(a●b●c)+e
a●b●c
[(a●b●c)+e]●d
e
b
a
d
c
d

## Slide 9: Wire Logic → Ladder Logic Rungs
A rung runs from the left (hot) rail to the right rail (return), generally having only ONE output coil per rung.
Mnemonic names (addresses) of inputs and outputs are given at the top of the symbol.
The type (NO, NC) of an input is depicted in the center of the input symbol. The state of an output may be used as an input in a rung.
Preset times/counts/other values are noted below the output coil symbol.

## Slide 10: Logic Diagram Examples
Logic Gates (Network)
Ladder Logic (Single Rung)
Timer
(on delay)
1 s
x
y
x
y
z
x
y
z
Timer
1 s

## Slide 11: PLC History 101
Pre-1968 electrical controls:
  Hardwired Panels
    Ladder Logic (electrical continuity)
    Relays
    Cams
    Drum sequencers
Disadvantages:
  Shut down line to change, debug, optimize control
  Errors were difficult to locate, correct
  Mechanical devices are prone to wear out
  Electrical safety was difficult
  “Real estate” for panel was expensive

## Slide 12: PLC History 102
1968 General Motors:
  Use re-programmable computer to control system
  Programmable using Ladder Logic
    Concept is LOGICAL continuity rather than electrical continuity
    Electricians would not have to be trained in a programming language
    Could be programmed off-line
  Environmentally hardened
    Operate without error in a high EMF environment
    Sealed from dirt, dust
  Electro-Optic Isolation
    Separates computer from inputs & outputs
    Modularization concept

## Slide 13: PLC History 103
Today:
  Smaller
  Cheaper
  Expandable
  More Capable
    Digital I/O modules
    Analog I/O modules
    High speed counters
    Communications
      host - link
      peer to peer
      ASCII
    Speech modules
Position control modules
  open loop control
  closed loop control
Machine vision modules
Bar code modules
PID control modules
Fuzzy logic control modules
RF - radio frequency modules

## Slide 14: PLC System Diagrammed
Power Supply
CPU
Memory
Input
Block
Output
Block
Programming
Unit

## Slide 15: Electro-Optical Isolation
Purpose:
  Avoid direct electrical path between I/O blocks and control circuitry
Inputs:
Outputs:
P
L
C
Sensor
+–
P
L
C
Load
~
Input Block
Output Block

## Slide 16: Questions & Issues